**To collect data:**

* Verify power supplies are on in room of the control room:
	+ Silicon Power: Keithley 2410 -> 0.1kV, 21uA
	+ Temp Sensor in box: 8842A Multimeter -> 10 kOhms = 0C
	+ E3631A: Low voltage power supply -> 6V, 20 mA
	+ Keithley 6487: SiPM voltage -> 54.5V, 150 nA
* Verify power supplies are on from browser:
	+ Go to ftbf-pdu07.fnal.gov
	+ Login: user/pass (ask Jim)
	+ Turn on everything except Outlet5/7 and only turn on motor when adjusting position of the black box
* To control position of black box:
	+ Use computer to the right of ftbflx16
		- Login pwd: (ask Lorenzo)
	+ Use the SCL utility
		- Vertical motor address: 131.225.176.95
		- Horizontal motor address: 131.225.176.100
		- Commands:
			* FH2: Places box in home position
			* FP #: Move the box # amount of clicks. 200000 clicks = 2 in
			* EP: Gives the current position
	+ Camera address: 131.225.176.26